## INSTR
Wetchem |  |  |  |  | VOA
Instrument | Status | Comments | Date updated | Initials | Instrument | Method/Matrix | Status | Comments | Date updated | Initials
IC Thermo Fisher |  |  |  |  | E | 8260AQ | Available | QC'S\SAMPLES | 2024-06-20 | JY
TOC Shimadzu |  |  |  |  | G | 8260AQ | Available | QC'S\SAMPLES | 2024-06-20 | JY
Skalar |  |  |  |  | H | 8260SO | DOWN | received EST SOP |  | BG
[5 empty] | I | 8260SO | Available | QC'S\SAMPLES | 2024-06-20 | JY
Metals |  |  |  |  | J | 8260AQ | Available | QC'S\SAMPLES | 2024-06-20 | JY
Instrument | Status | Comments | Date updated | Initials | K | 6200 | DOWN | CHECK HE\PURGE FLOW | 2024-06-19 | bg
ICP-OES 1 |  |  |  |  | Q | 6200 | Available | QC'S\SAMPLES | 2024-06-20 | JY
ICP-OES 2 |  |  |  |  | X | 8260AQ | Available |  |  | JY
ICP-MS Agilent |  |  |  |  | Y | 8260AQ/SO | Available | 8260 ICAL | 2024-06-19 | JY
ICP-MS Perkin Elmer |  |  |  |  | QQ | Alcohols | Available | QCs | 2024-06-19 | BC
Hg analyzer old |  |  |  |  | RR | Glycols | Available | QCs | 2024-06-19 | BC
Hg analyzer New |  |  |  |  | GCLA | GRO | Available | QCs | 2024-06-19 | BC
[5 empty] | GCLE | MAVPH | DOWN | Issue locating parts | 2024-06-19 | BG
EXT |  |  |  |  | GCLP | 8021/602 | Available | QCs | 2024-06-19 | BC
Instrument | Status | Comments | Date updated | Initials | GCLC | VPH | Available |  | 2024-06-19 | BC
Semis
[5 empty] | Instrument | Method/Matrix | Status | Comments | Date updated | Initials
[5 empty] | C | SIM
[5 empty] | D | 8270 AQ/SO
[5 empty] | F | Method Developement
[5 empty] | L | LVI AQ
[5 empty] | P | 8270 AQ/SO
[5 empty] | V | Method Developement
[5 empty] | W | 8270 AQ/SO
[5 empty] | Z | MA/LAEPH
[5 empty] | GCLM | 8082 PCB
[5 empty] | GLB | DRO/ORO SO
[5 empty] | GCL-I | 8011/504 AQ
[5 empty] | GOO | 8082 PCB
[5 empty] | GJJ | TX1005
[5 empty] | GLL | whole oil
[5 empty] | HPLC HM | 8315/ 1667
[5 empty] | GLH | DRO/ORO AQ

## COUNT
Start Date | 2023-01-01
End Date | 2025-07-29 | 2025-07-30
**always copy paste dates to remove formula
| LATE | TOTAL
MSS | 0 | -1
GCS | 0 | -1
MSVOA* | 0 | -1
GCVOA* | 0 | -1
GNALLND | 0 | -1
AAALLND | 0 | -1
Ext-nd* | 0 | -1
HGALL

## Daily Processed
StatusDate | ServiceGroup | DeptNum | DeptType | Dept | Status | SampleCount |  |  | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday
[7 empty] | Daily Production (Tests) |  | 2025-07-25 | 2025-07-26 | 2025-07-27 | 2025-07-28 | 2025-07-29 | 2025-07-30
[7 empty] | MSS | MSS | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | GCS | GCS | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | MSV | MSV | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | GCV | GCV | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | GEN | GEN | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | MET | MET | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | OP(GCS+MSS) | OP | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | ORG (AN) |  | 2025-07-25: WITH FORMULA
[7 empty] | SUB | SUB | 0 | 0 | 0 | 0 | 0 | 0
**do not copy current date for guidance only

## Xlookup
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sheet1 (hidden)
SAMPLES in WORKLIST REPORTS
CODE | LAB GROUP / remarks | Late Samples | Total Samples in Progress | NOTES
MSS | MS Semis | 0 | -1
GCS | GC Semis | 0 | -1
MSVOA* |  | 0 | -1
GCVOA* |  | 0 | -1
MSAIR* |  | #REF! | #REF!
GCAIR* |  | #REF! | #REF!
GNALLND | GenChem | 0 | -1
AAALLND | Metals | 0 | -1
Ext-nd* | Orgprep | 0 | -1 | Filter: PR, OP, DONE
EXTLCMS | PFAS | #REF! | #REF!
HGALL | Hg
LCMSPFAS | PFAS
Rush Rev | Surcharges-Sales
Open jobs | Late tab |  |  | Late tab, count all jobs
SUB | sub-late file
Rush (TAT-1,2,3,4,5) | RUSH tab | #REF!
Priority (TAT-6) | RUSH tab
RG | REPGEN |  |  | manually select jobs removing the LAB DATA
Late +1 | Late tab
Late +2 | Late tab
Late +3 | Late tab
Lab TAT
TOTAL TAT | LAB TAT | HC
MTD
YTD
| MTD | YTD
7 TAT
14 TAT
6 TAT
RUSH TAT (1-5 days)
| R 1-5 % On-Time | 6 Day % On-Time | 7 Day % On-Time
MTD
+1 Day
+2 Day
+3 Day